## Electrodeposition of radon daughters on a charged rubber balloon

There are two purposes to this demonstration.  The first is that by showing that a charged rubber balloon left hanging becomes radioactive, a reasonable inference would be that the radioactivity had originated in the air.  The second is that by monitoring the count rate from the balloon fragments over a period of about 3 h, the count rate is seen to drop by a sort of exponential decay, being the compound decay of more than one short-lived radionuclide.

# Method

Inflate a rubber balloon, tie it at the neck, attach a nylon thread, rub the balloon on your head until you hear the crackling that you get with static electricity and you feel your hair standing out, then suspend the charged balloon from a support so that it touches nothing.  Next start logging background radiation with a count period of one minute.  After 30 minutes, burst the balloon, place the rubber fragments on a sheet of paper under the GM tube window (Fig. 9) and note that the count rate has increased many times over.  Keep watching and the rate decays with a sort of exponential decay with a half-life of about 50 mins (Fig. 10).  Presumably the activity is that of 214Pb (26.8 min) and 214Bi (19.9 min) - progeny of 222Rn.  The demonstration nicely shows that the natural world is quite radioactive.  While it also shows radioactive decay, the decay curve is not analysable with school-level maths.

From the simplified list of emissions in the Uranium/Radium (4n+2) series (Table 2), energies of beta and gamma emissions from 214Pb are moderately high and those from 214Bi are very high.  These would be readily detectably by a GM tube sited a few centimetres from the rubber fragments.  The count is mainly caused by emissions from these two nuclides.

There may also be a minor contribution from the daughters of thoron (220Rn), whose relative abundance is very much lower than radon (222Rn).

| Nuclide | Half-life | Alpha energy (MeV) | Beta energy (MeV) | Gamma energy (MeV) |
| --- | --- | --- | --- | --- |
| Radium-226 | 1620 y | 4.8 | - | 0.19 |
| Radon-222 | 3.8 d | 5.5 | - | - |
| Polonium-218 | 3.1 min | 6.0 | - | - |
| Lead-214 | 26.8 min | - | 0.65 | 0.35 |
| Bismuth-214 | 19.9 min | - | 3.3 | 2.4 |
| Polonium-214 | 1.6 x 10-4 s | 7.7 | - | - |
| Lead-210 | 22.3 y | - | 0.06 | 0.05 |
| Etc. |  |  |  |  |

Table 2.	Uranium-238 decay series from 226Ra onwards.

# Electrostatic puzzle

According to the triboelectric series, when rubber is rubbed with fur, the rubber gets negatively charged.  This has been confirmed by checking with a coulombmeter.  Since radon decays by alpha emission, its daughter, 218Po, would be negatively charged also.  Why then does 218Po deposit on a negatively-charged rubber balloon?

The answer is that the 222Rn atom decays with the emission of an alpha-particle having an energy of 5.49 MeV.  The resulting 218Po atom has a recoil energy of 101 keV, sufficient to produce a recoil range of 72 µm in air. The freshly generated radionuclide interacts with the air molecules during its recoil path (the duration of which is of the order of nanoseconds), loses its charge and tends to be positively ionised with a single positive charge after

thermalisation.

Here are some results when we carried out the experiment, using a very sensitive GM tube:

| Background activity (Counts per minute) |  |  |  |
| --- | --- | --- | --- |
| count 37 |  |  |  |
| 31 |  |  |  |
| 38 |  |  |  |
| 29 |  |  |  |
| 48 |  |  |  |
| 55 |  |  |  |
| 35 |  |  |  |
| 36 |  |  |  |
| Time (mins) |  |  | Activity (counts per minute) |
| 0 |  |  |  |
| 1 |  |  | 522 |
| 2 |  |  | 503 |
| 3 |  |  | 539 |
| 4 |  |  | 553 |
| 5 |  |  | 555 |
| 6 |  |  | 558 |
| 7 |  |  | 518 |
| 8 |  |  | 552 |
| 9 |  |  | 556 |
| 10 |  |  | 548 |
| 11 |  |  | 533 |
| 12 |  |  | 555 |
| 13 |  |  | 530 |
| 14 |  |  | 522 |
| 15 |  |  | 530 |
| 16 |  |  | 468 |
| 17 |  |  | 515 |
| 18 |  |  | 523 |
| 19 |  |  | 487 |
| 20 |  |  | 521 |
| 21 |  |  | 489 |
| 22 |  |  | 485 |
| 23 |  |  | 454 |
| 24 |  |  | 446 |
| 25 |  |  | 457 |
| 26 |  |  | 487 |
| 27 |  |  | 423 |
| 28 |  |  | 482 |
| 29 |  |  | 452 |
| 30 |  |  | 426 |
| 31 |  |  | 414 |
| 32 |  |  | 426 |
| 33 |  |  | 448 |
| 34 |  |  | 428 |
| 35 |  |  | 430 |
| 36 |  |  | 442 |
| 37 |  |  | 423 |
| 38 |  |  | 392 |
| 39 |  |  | 420 |
| 40 |  |  | 389 |
| 41 |  |  | 387 |
| 42 |  |  | 361 |
| 43 |  |  | 350 |
| 44 |  |  | 357 |
| 45 |  |  | 345 |
| 46 |  |  | 378 |
| 47 |  |  | 357 |
| 48 |  |  | 335 |
| 49 |  |  | 308 |
| 50 |  |  | 358 |
| 51 |  |  | 348 |
| 52 |  |  | 328 |
| 53 |  |  | 341 |
| 54 |  |  | 350 |
| 55 |  |  | 309 |
| 56 |  |  | 376 |
| 57 |  |  | 297 |
| 58 |  |  | 298 |
| 59 |  |  | 297 |
| 60 |  |  | 320 |
| 61 |  |  | 286 |
| 62 |  |  | 316 |
| 63 |  |  | 288 |
| 64 |  |  | 275 |
| 65 |  |  | 258 |
| 66 |  |  | 274 |
| 67 |  |  | 253 |
| 68 |  |  | 251 |
| 69 |  |  | 242 |
| 70 |  |  | 231 |
| 71 |  |  | 264 |
| 72 |  |  | 237 |
| 73 |  |  | 250 |
| 74 |  |  | 234 |
| 75 |  |  | 260 |
| 76 |  |  | 231 |
| 77 |  |  | 239 |
| 78 |  |  | 221 |
| 79 |  |  | 234 |
| 80 |  |  | 206 |
| 81 |  |  | 176 |
| 82 |  |  | 236 |
| 83 |  |  | 198 |
| 84 |  |  | 207 |
| 85 |  |  | 183 |
| 86 |  |  | 199 |
| 87 |  |  | 201 |
| 88 |  |  | 188 |
| 89 |  |  | 167 |
| 90 |  |  | 187 |
| 91 |  |  | 175 |
| 92 |  |  | 162 |
| 93 |  |  | 182 |
| 94 |  |  | 163 |
| 95 |  |  | 164 |
| 96 |  |  | 177 |
| 97 |  |  | 173 |
| 98 |  |  | 157 |
| 99 |  |  | 159 |
| 100 |  |  | 145 |

This experiment is unlikely to give a typical half life graph because there are several substances adhering to the balloon that are simultaneously decaying. Sources available to Scottish Schools that demonstrate half life are:

The protactinium generator

The barium eluting source

The Cooknell ionisation chamber and gas mantles.

These all have a mechanism allowing the decay of a single substance to be studied.

SSERC should always be consulted before you buy a source.

Here is another data set:

|  | Background activity (counts per minute) |
| --- | --- |
| Background 1 | 16 |
| Background 2 | 18 |
| Background 3 | 19 |
| Background 4 | 13 |
| Background 5 | 22 |
| Background 6 | 18 |
| Background 7 | 10 |

| Time (mins) | Activity (counts per minute) |
| --- | --- |
| 0 | 139 |
| 1 | 127 |
| 2 | 122 |
| 3 | 154 |
| 4 | 148 |
| 5 | 122 |
| 6 | 112 |
| 7 | 123 |
| 8 | 96 |
| 9 | 126 |
| 10 | 107 |
| 11 | 123 |
| 12 | 128 |
| 13 | 101 |
| 14 | 114 |
| 15 | 122 |
| 16 | 97 |
| 17 | 103 |
| 18 | 107 |
| 19 | 96 |
| 20 | 125 |
| 21 | 105 |
| 22 | 88 |
| 23 | 102 |
| 24 | 113 |
| 25 | 100 |
| 26 | 94 |
| 27 | 110 |
| 28 | 96 |
| 29 | 107 |
| 30 | 99 |
| 31 | 99 |
| 32 | 95 |
| 33 | 75 |
| 34 | 90 |
| 35 | 77 |
| 36 | 85 |
| 37 | 84 |
| 38 | 91 |
| 39 | 94 |
| 40 | 78 |
| 41 | 80 |
| 42 | 82 |
| 43 | 90 |
| 44 | 82 |
| 45 | 80 |
| 46 | 90 |
| 47 | 78 |
| 48 | 64 |
| 49 | 81 |
| 50 | 69 |
| 51 | 85 |
| 52 | 70 |
| 53 | 81 |
| 54 | 68 |
| 55 | 75 |
| 56 | 63 |
| 57 | 69 |
| 58 | 57 |
| 59 | 56 |
| 60 | 70 |
| 61 | 66 |
| 62 | 59 |
| 63 | 48 |
| 64 | 59 |
| 65 | 47 |
| 66 | 57 |
| 67 | 61 |
| 68 | 57 |
| 69 | 57 |
| 70 | 49 |