## Slide 1
National 5 Assignment:
SSERC support

## Slide 2
Health and Safety Advisory Service
Guidance / advice on experiments and investigations
Publications
Online resources

## Slide 3
CPD@SSERC
Technical Staff
Curriculum Leaders
Primary & Secondary
Teachers
Student
Teachers

## Slide 4
CPD Opportunities:
Practical workshops
Residential Courses
Summer Schools
Health and Safety Training
On-line ‘SSERC meets’

## Slide 5
2017/2018 - practical / experimental / fieldwork - mandatory feature
SSERC commissioned - 2 Resource Packs
These exemplars not mandatory

## Slide 6
Investigating limiting factors in photosynthesis
Investigating the effect of plant fertilisers on algal growth

## Slide 7
Each consists of 3 elements:
Teacher / Technician Guide
Student Guide
Generic risk assessment
  Teacher / Technician Guide - links to information / data sets - may be provided to students

## Slide 9
  Photosynthesis
  -
  Debbie Eldridge
  School Sci. Rev. (2004), 85, 37-45.

## Slide 10: Algae
Scenedesmus quadricauda

## Slide 12
Light Sources
Notes: Buffers 7.6 –9.2

## Slide 14
What might you observe?
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 16
Dark control
60-90 min irradiation

## Slide 18: Variables?
Colour of light
Light Intensity
  Distance from lamp
  Neutral density experiment
Number of balls
Ball size
Concentration of algae
Temperature
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 20: Variables?
Colour of light
Light Intensity
  Distance from lamp
  Neutral density experiment
Number of balls
Ball size
Concentration of algae
Temperature
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 21: Light Intensity I
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 22
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 23
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 25: Light Intensity II
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 26: Filters
LEE Filters – range of filters
Neutral density options
www.leefilters.com
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 27: Transmission data
Filter No | %T
298 | 71
209 | 50
210 | 25
211 | 12.5
299 | 6.25
Notes: The colorimeter we recommend for key stage 4 use is the WPA colorimeter

## Slide 28
Chart: Absorbance (580 nm) after 90 min illumination
| 0 | 6.25 | 12.5 | 25 | 35.5 | 71 | 100
 | 0.72793 | 0.78061 | 0.8421 | 1.0026 | 1.2205 | 1.4947 | 1.6412

## Slide 31
Life on Earth 5 Food production
c. Fertilisers can leach into fresh water, adding extra, unwanted nitrates. This will increase algal populations which can cause algal blooms. Algal blooms reduce light levels, killing aquatic plants. These dead plants, as well as dead algae, become food for bacteria which increase greatly in number. The bacteria use up large quantities of oxygen, reducing the oxygen availability for other organisms.
Investigate the effect of fertilisers on plant growth.
Investigate the effect of fertiliser concentration on algal growth.

## Slide 33
Grow algae for 7 – 10 days in distilled water and in fertiliser
Take colorimeter readings of absorbance at regular intervals

## Slide 34
Euglena
Unicellular freshwater eukaryote algae
Shape variable from long and thin up to 100 μm to spheres of ~ 20 μm
Motile (2 flagella)
Chlorella
Unicellular freshwater eukaryote algae
Spherical, non-motile, 2 – 10 μm
Used by Calvin - CO2 assimilation in plants

## Slide 35
Scenedesmus
- Freshwater eukaryote
Can exist as unicells; also as coenobia of four or eight cells, 11 – 18 μm long
Used by SSERC to make ‘algal balls’ for the study of photosynthesis and respiration

## Slide 36
Euglena gracilis
Observing algae
Hanging drop / cavity slide
Distilled water Baby BioTM

## Slide 37
Counting algae - estimating population size
Direct – count cells using a haemocytometer
Indirect – absorbance using a colorimeter
Notes: Flasks each containing a culture of algae and different concentrations of liquid plant fertiliser are set up.
Flasks are placed near a light source - cultures left to grow for ~ 10 days
Population size estimated at regular intervals by measuring the absorbance of samples of the cultures using a colorimeter.
In this case, absorbance is the extent to which cells in the culture scatter a beam of light of particular wavelength as it passes through the culture.
A ‘control cuvette’ for each is used to zero the colorimeter each time readings are taken.
Control cuvettes are frozen after the first colorimeter readings are taken and thawed out for use when subsequent readings are taken.

## Slide 38
Counting algae - estimating population size
Direct – count cells using a haemocytometer
Indirect – absorbance using a colorimeter
Notes: Flasks each containing a culture of algae and different concentrations of liquid plant fertiliser are set up.
Flasks are placed near a light source - cultures left to grow for ~ 10 days
Population size estimated at regular intervals by measuring the absorbance of samples of the cultures using a colorimeter.
In this case, absorbance is the extent to which cells in the culture scatter a beam of light of particular wavelength as it passes through the culture.
A ‘control cuvette’ for each is used to zero the colorimeter each time readings are taken.
Control cuvettes are frozen after the first colorimeter readings are taken and thawed out for use when subsequent readings are taken.

## Slide 39
Day 1
Day 11
Chlorella

## Slide 41
Scenedesmus quadricauda

## Slide 43
Chart: Day
dH2O | 0.032 | 0.031 | 0.045 | 0.035 | 0.036
0.25 cm3 Bb | 0.028 | 0.037 | 0.046 | 0.054 | 0.063
0.50 cm3 Bb | 0.033 | 0.052 | 0.035 | 0.066 | 0.053
0.75 cm3 Bb | 0.034 | 0.055 | 0.057 | 0.061 | 0.081
Scenedesmus grown in Baby Bio of varying concentration

## Slide 44
Chlorella – range of concentrations Day 11
Chart: Chlorella day 11
| Water | 0.25 B/B | 0.50 B/B | 0.75 B/B
680nm | 0.05 | 0.09 | 0.11 | 0.16
550nm | 0.06 | 0.09 | 0.11 | 0.16
440nm | 0.05 | 0.09 | 0.11 | 0.16
Chart: Chlorella day 11
| Water | 0.25 B/B | 0.50 B/B | 0.75 B/B
680nm | 0.05 | 0.09 | 0.11 | 0.16
550nm | 0.06 | 0.09 | 0.11 | 0.16
440nm | 0.05 | 0.09 | 0.11 | 0.16

## Slide 45
www.sserc.scot
paul.beaumont@sserc.scot
sts@sserc.scot